User Guide

Preventive Maintenance

Scheduled Maintenance Plans to Prevent Breakdowns

الصيانة الوقائية

Version 2.0  |  March 2026

Mimaric PropTech Co.  |  mimaric.com

# Table of Contents

# 1. Module Overview

The Preventive Maintenance module enables proactive scheduling of recurring maintenance tasks. Instead of reacting to breakdowns, you define maintenance plans that auto-generate work orders on schedule — reducing emergency costs and extending asset life.

Designed for Property Managers who schedule maintenance and Technicians who execute recurring tasks.

Figure: Preventive Maintenance showing scheduled plans with recurrence and next run dates

## Recurrence Frequencies

| Frequency | Use Case | Example |
| --- | --- | --- |
| Daily | High-frequency operational tasks | Lobby cleaning, waste collection |
| Weekly | Regular inspections | Generator test run, fire alarm check |
| Monthly | Standard maintenance cycles | HVAC filter replacement, pest control |
| Quarterly | Seasonal maintenance | AC deep cleaning, roof inspection |
| Semi-Annual | Major system checks | Elevator certification, fire system test |
| Annual | Annual inspections and certifications | Civil defense inspection, electrical audit |
| One-Time | Scheduled non-recurring tasks | Initial setup, warranty inspection |

# 2. Getting Started

- Navigate to Maintenance > Preventive Maintenance (الصيانة الوقائية).

- You’ll see a list of all preventive maintenance plans with their status and next run date.

- Click “New Plan” to create your first scheduled maintenance plan.

# 3. Core Tasks

## 3.1 Creating a Preventive Maintenance Plan

- Click “New Plan” from the Preventive Maintenance page.

- Enter the plan title (e.g., “Monthly HVAC Filter Replacement — Building A”).

- Select the category (HVAC, Plumbing, Electrical, etc.).

- Choose the recurrence type (Daily, Weekly, Monthly, Quarterly, Semi-Annual, Annual, One-Time).

- Set the recurrence interval (e.g., every 1 month, every 3 months).

- Set the next run date (when the first work order should be created).

- Optionally assign a default technician.

- Click Save. The plan is created and activated.

Tip Create separate plans for each building or property section. This allows different schedules for different buildings and easier tracking of per-building maintenance costs.

## 3.2 Managing Active Plans

- View all plans in the list with status (Active/Inactive) and next run date.

- Toggle plans Active/Inactive using the status toggle.

- Edit plan details: frequency, interval, assigned technician, category.

- Delete plans that are no longer needed.

## 3.3 Auto-Generated Work Orders

When a plan’s run date arrives, the system automatically:

- Creates a new maintenance work order in the Maintenance module.

- Sets the work order title, category, and description from the plan template.

- Assigns the default technician (if specified in the plan).

- Calculates and sets the next run date based on the recurrence frequency.

Note Auto-generated work orders appear in the Maintenance module with all standard work order capabilities: assignment, progress tracking, cost recording, and resolution workflow.

# 4. Advanced Topics

## 4.1 Post-Handover Auto-Setup

When a project reaches the handover stage, Mimaric can automatically create a set of standard preventive maintenance plans for the completed buildings: HVAC quarterly service, elevator semi-annual inspection, fire system annual check, and cleaning schedules.

## 4.2 Cost Forecasting

By reviewing historical costs of auto-generated work orders, you can forecast annual maintenance budgets per building or per property. This data is accessible through the Finance module’s maintenance cost analysis.

# 5. Frequently Asked Questions

Q: What is preventive maintenance?

Preventive maintenance schedules recurring work (daily, weekly, monthly, annual) to prevent breakdowns. Work orders are auto-generated per schedule.

Q: Can I pause a plan temporarily?

Yes. Toggle the plan to ‘Inactive.’ No work orders will be generated until you reactivate it. The next run date will be recalculated on reactivation.

Q: What happens if I change the frequency of an active plan?

The next run date is recalculated based on the new frequency. Existing work orders are not affected.

Q: Can auto-generated work orders be edited?

Yes. Auto-generated work orders are full work orders with all standard capabilities. You can reassign technicians, change priority, add notes, and record costs.

# 6. Related Modules

| Module | Relationship | When to Use |
| --- | --- | --- |
| Maintenance | Receives auto-generated work orders | Plans create work orders on schedule |
| Projects | Post-handover auto-setup | Standard plans created after project handover |
| Finance | Cost tracking from recurring work | Maintenance costs aggregate in financial reports |
| Unit Matrix | Work orders reference units | Plans can target specific buildings/units |

— End of Preventive Maintenance User Guide —